Department of Mechanical Engineering

College of Engineering, Pune

Wellesley Road, Shivajinagar, Pune-411 005

Ph.:020-25507221, Fax:020-25507299

Website: http://www.coep.org.in

-----------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

Tender No.: COEP/MECH/2017/   	   	                                                                                                                              Date: 14th  July, 2017

INVITATION FOR QUOTATION

Name of Equipment’s: Supply of  piezoelectric pressure sensor for laser combustion apparatus.

Last date of submission of the quotation: 24th July, 2017, Time: 4.00 pm at inward section of office of Department of Mechanical Engineering, College of Engineering, Shivajinagar, Pune.

Quotations in sealed envelope are invited from original equipment manufacturers or the authorized sales agents (dealers/ representatives) as per the following specifications and under the conditions as specified.

SPECIFICATIONS OF PRESSURE SENSOR:

| Sr. No. | Item | Specifications | Quantity |
| --- | --- | --- | --- |
| 1. | PIEZOELECTRIC PRESSURE SENSOR | RANGE: 0-100BAR ACCURACY: 0.5% FULL SCALE DEFLECTION EXCITATION VOLTAGE: 24 VDC OPERATOR END FITTING: 1/4'' BSP MALE OPERATING TEMPERATURE: -30 TO 125 DEGREE CELCIUS | 01 |

Terms and Conditions:

Note: The validity of the quotations is subject to fulfilment of the following conditions:

1. Fax and Email quotation are not acceptable.

2. Quotations should be valid for 60 days from the tender due date. The quotation should clearly indicate the period of delivery, warranty terms etc.

4. All duties, taxes and other levies payable by the bidder needs to be included in the total price, and break up needs to be indicated

5. The last date of submission of the detailed quotation is 24th July, 2017 till 16.00 Hrs.

6. The quotations will be opened at 17.00 Hrs. on 24th July, 2017 in the office of the HOD, Mechanical Engineering Department, College of Engineering Pune.

7. Further details of this quotation and the relevant information are available in the office at Mechanical Engineering Department, College of Engineering Pune. For any query please contact Prof. Nandgaonkar M.R, 9850174795.

8. Delivery: The items to be delivered in mechanical department within the period of 4 weeks from the date of issue of purchase order.

9. Penalty: If the suppliers fails to deliver and place any or all the Equipment or perform the service by the specified date, penalty at the rate of 0.5 % in the first week, 1.5% for 2nd week, 1.5% for 3rd week, 1.5% for 4th week; for maximum limit of 10% shall be charged in case of PO value is less than 2 Lakh. In case of delay more than 4 weeks, beyond the stipulated delivery date, order shall be deemed cancelled.

Yours Sincerely,

Head

Department of Mechanical Engineering

College of Engineering, Pune.